## Summary
BESS Pulse — Market Report
Zone | DE_LU
Timezone | Europe/Berlin
Date Range Start | 2025-10-26
Date Range End | 2025-10-26
Total Days | 1
Avg Price (EUR/MWh) | 0
Avg Price Basis | Duration-weighted: finite prices cover 25.00 of 25.00 delivery hours (100.0%).
Median Price (row-based, EUR/MWh) | 0
50th-percentile Spread | 0
75th-percentile Spread | 0
90th-percentile Spread | 0
Mean Spread | 0
Est. Annual Revenue (EUR/MW) | 0
Headline Annual Revenue (EUR) | 0
Headline Total Mode | conservative_da_primary
Gross Additive Total (Reference, EUR) | 166440
Capacity Stack Warning | Capacity reserve revenue is not added to the headline total because it cannot be fully co-dispatched with day-ahead arbitrage. Gross additive total is shown as a non-co-optimized reference.
Joint MILP Capacity Settlement Basis | DE_LU / aggregate capacity: FCR: physical-hour screening; capacity cash uses elapsed delivery hours and availability, with no nominal-block DST adjustment. Energy/SoC use physical time. The registered DE_LU Project Case profile uses six nominal 4h blocks/day.
Joint MILP Co-optimized Total (EUR) | 173493.75
Joint MILP Avg Reserve Commitment | 100%
DA Arbitrage Revenue (EUR) | 0
FCR Revenue (EUR) | 166440
BESS Power (MW) | 1
BESS Duration (h) | 1
Round-Trip Efficiency | 88%
Modeled Cycles per Day | 1
Capture Rate Assumption | 0.7
Capture Basis | sidebar capture haircut applied to screening revenue
Negative Price Hours | 0
Negative Price Intervals | 0
Negative Price % of Intervals | 0%

## Daily Spreads
date | daily_min | daily_max | spread | max_hour | min_hour
2025-10-26 | 0 | 0 | 0 | 0 | 0

## Monthly Summary
year_month | avg_spread | median_spread | max_spread | min_spread | avg_daily_max | avg_daily_min
2025-10 | 0 | 0 | 0 | 0 | 0 | 0

## Hourly Prices
timestamp | price_eur_mwh
2025-10-25 22:00:00+00:00 | 0
2025-10-25 22:15:00+00:00 | 0
2025-10-25 22:30:00+00:00 | 0
2025-10-25 22:45:00+00:00 | 0
2025-10-25 23:00:00+00:00 | 0
2025-10-25 23:15:00+00:00 | 0
2025-10-25 23:30:00+00:00 | 0
2025-10-25 23:45:00+00:00 | 0
2025-10-26 00:00:00+00:00 | 0
2025-10-26 00:15:00+00:00 | 0
2025-10-26 00:30:00+00:00 | 0
2025-10-26 00:45:00+00:00 | 0
2025-10-26 01:00:00+00:00 | 0
2025-10-26 01:15:00+00:00 | 0
2025-10-26 01:30:00+00:00 | 0
2025-10-26 01:45:00+00:00 | 0
2025-10-26 02:00:00+00:00 | 0
2025-10-26 02:15:00+00:00 | 0
2025-10-26 02:30:00+00:00 | 0
2025-10-26 02:45:00+00:00 | 0
2025-10-26 03:00:00+00:00 | 0
2025-10-26 03:15:00+00:00 | 0
2025-10-26 03:30:00+00:00 | 0
2025-10-26 03:45:00+00:00 | 0
2025-10-26 04:00:00+00:00 | 0
2025-10-26 04:15:00+00:00 | 0
2025-10-26 04:30:00+00:00 | 0
2025-10-26 04:45:00+00:00 | 0
2025-10-26 05:00:00+00:00 | 0
2025-10-26 05:15:00+00:00 | 0
2025-10-26 05:30:00+00:00 | 0
2025-10-26 05:45:00+00:00 | 0
2025-10-26 06:00:00+00:00 | 0
2025-10-26 06:15:00+00:00 | 0
2025-10-26 06:30:00+00:00 | 0
2025-10-26 06:45:00+00:00 | 0
2025-10-26 07:00:00+00:00 | 0
2025-10-26 07:15:00+00:00 | 0
2025-10-26 07:30:00+00:00 | 0
2025-10-26 07:45:00+00:00 | 0
2025-10-26 08:00:00+00:00 | 0
2025-10-26 08:15:00+00:00 | 0
2025-10-26 08:30:00+00:00 | 0
2025-10-26 08:45:00+00:00 | 0
2025-10-26 09:00:00+00:00 | 0
2025-10-26 09:15:00+00:00 | 0
2025-10-26 09:30:00+00:00 | 0
2025-10-26 09:45:00+00:00 | 0
2025-10-26 10:00:00+00:00 | 0
2025-10-26 10:15:00+00:00 | 0
2025-10-26 10:30:00+00:00 | 0
2025-10-26 10:45:00+00:00 | 0
2025-10-26 11:00:00+00:00 | 0
2025-10-26 11:15:00+00:00 | 0
2025-10-26 11:30:00+00:00 | 0
2025-10-26 11:45:00+00:00 | 0
2025-10-26 12:00:00+00:00 | 0
2025-10-26 12:15:00+00:00 | 0
2025-10-26 12:30:00+00:00 | 0
2025-10-26 12:45:00+00:00 | 0
2025-10-26 13:00:00+00:00 | 0
2025-10-26 13:15:00+00:00 | 0
2025-10-26 13:30:00+00:00 | 0
2025-10-26 13:45:00+00:00 | 0
2025-10-26 14:00:00+00:00 | 0
2025-10-26 14:15:00+00:00 | 0
2025-10-26 14:30:00+00:00 | 0
2025-10-26 14:45:00+00:00 | 0
2025-10-26 15:00:00+00:00 | 0
2025-10-26 15:15:00+00:00 | 0
2025-10-26 15:30:00+00:00 | 0
2025-10-26 15:45:00+00:00 | 0
2025-10-26 16:00:00+00:00 | 0
2025-10-26 16:15:00+00:00 | 0
2025-10-26 16:30:00+00:00 | 0
2025-10-26 16:45:00+00:00 | 0
2025-10-26 17:00:00+00:00 | 0
2025-10-26 17:15:00+00:00 | 0
2025-10-26 17:30:00+00:00 | 0
2025-10-26 17:45:00+00:00 | 0
2025-10-26 18:00:00+00:00 | 0
2025-10-26 18:15:00+00:00 | 0
2025-10-26 18:30:00+00:00 | 0
2025-10-26 18:45:00+00:00 | 0
2025-10-26 19:00:00+00:00 | 0
2025-10-26 19:15:00+00:00 | 0
2025-10-26 19:30:00+00:00 | 0
2025-10-26 19:45:00+00:00 | 0
2025-10-26 20:00:00+00:00 | 0
2025-10-26 20:15:00+00:00 | 0
2025-10-26 20:30:00+00:00 | 0
2025-10-26 20:45:00+00:00 | 0
2025-10-26 21:00:00+00:00 | 0
2025-10-26 21:15:00+00:00 | 0
2025-10-26 21:30:00+00:00 | 0
2025-10-26 21:45:00+00:00 | 0
2025-10-26 22:00:00+00:00 | 0
2025-10-26 22:15:00+00:00 | 0
2025-10-26 22:30:00+00:00 | 0
2025-10-26 22:45:00+00:00 | 0

## Price Heatmap
Hour | 2025-10
0 | 0
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0

## Project Case NPVs
Metric | No-lifecycle-cost screening NPV | Pre-tax unlevered lifecycle cash NPV
Available | TRUE | FALSE
Status | ok | capacity_maintenance_unknown
Message |  | Engineering capacity-maintenance basis is unknown.
P10 (Downside, EUR) | 1634132.4545
P50 (Median, EUR) | 1634132.4545
P90 (Upside, EUR) | 1634132.4545
P(NPV > 0) | 100%
Schema Version | project-case-v1.1
Project Case Input Fingerprint | 3830b2d25dc577e635fe02b10048bc317eb9e27041a2c8dc525a801fa415e74d
Reserve Capacity Settlement Basis | DE_LU / FCR [symmetric]: Project Case uses six nominal 4h capacity blocks per local day, including DST, with availability applied. Energy and SoC use physical delivery time; screening capacity uses elapsed hours without this adjustment.
Cash-flow Table Statistic | p50_annual_bootstrap_draw_linear
Typed Contract Settlement Included | FALSE
Contract Settlement Basis
Wear-net Floor Comparator Included | FALSE
Valuation Basis | Pre-tax unlevered; real base-year EUR
Representative Table Basis | Linear P50 annual bootstrap draw; not an expected-value table
P50 Reconciliation | NPV P50 = -year-0 CapEx + sum(discounted net cash flow)
Strategy Kind | DA_RESERVE_COOPT
Producer Adapter | PC_ADP_RESERVE_COOPT
Observed Dates | 1
Valid Dates | 1
Missing Dates | 0
Solver-failed Dates | 0

## Screening Cash Flow
Representative P50 reconciliation | Value (EUR)
Installed CapEx at year 0 | 0
Discounted project-year cash flow | 1634132.4545
Reconciled P50 NPV | 1634132.4545
Reported P50 NPV | 1634132.4545
Reconciliation difference | -4.6566e-10
Project Year | Merchant Strategy Cash (EUR) | Effective Contract Floor (EUR) | Contract Top-Up (EUR) | Settled Strategy Cash (EUR) | Fixed O&M (EUR) | Augmentation Net Cost (EUR) | Terminal Cash (EUR) | Net Cash Flow (EUR) | Discount Factor | Discounted Net Cash Flow (EUR)
1 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.92593 | 154111.1111
2 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.85734 | 142695.4733
3 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.79383 | 132125.4382
4 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.73503 | 122338.3687
5 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.68058 | 113276.2673
6 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.63017 | 104885.4327
7 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.58349 | 97116.1414
8 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.54027 | 89922.3531
9 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.50025 | 83261.4381
10 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.46319 | 77093.9242
11 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.42888 | 71383.2631
12 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.39711 | 66095.614
13 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.3677 | 61199.6426
14 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.34046 | 56666.3357
15 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.31524 | 52468.8294
16 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.29189 | 48582.2494
17 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.27027 | 44983.5643
18 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.25025 | 41651.4484
19 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.23171 | 38566.1559
20 | 166440 |  | 0 | 166440 | 0 | 0 | 0 | 166440 | 0.21455 | 35709.4036

## Assumptions & Provenance
Path | Value (encoded text) | Value Type | Chunk Index | Chunk Count | Text Encoding | Original Character Count | Original UTF-8 Byte Count
provenance.bootstrap.algorithm_version | pc-bootstrap-pcg64-choice365-linear-v1 | str | 1 | 1 | plain-utf8 | 38 | 38
provenance.bootstrap.days_per_annual_draw | 365 | int | 1 | 1 | plain-utf8 | 3 | 3
provenance.bootstrap.n_simulations | 5000 | int | 1 | 1 | plain-utf8 | 4 | 4
provenance.bootstrap.percentile_method | linear | str | 1 | 1 | plain-utf8 | 6 | 6
provenance.bootstrap.prob_positive_rule | strict_gt_zero_all_draws | str | 1 | 1 | plain-utf8 | 24 | 24
provenance.bootstrap.seed | 0 | int | 1 | 1 | plain-utf8 | 1 | 1
provenance.calculator_version | pc-d2-v1.1 | str | 1 | 1 | plain-utf8 | 10 | 10
provenance.capacity_maintenance_basis | UNKNOWN | str | 1 | 1 | plain-utf8 | 7 | 7
provenance.cashflow_reconciliation.absolute_tolerance_eur | 1e-06 | float | 1 | 1 | plain-utf8 | 5 | 5
provenance.cashflow_reconciliation.relative_tolerance | 1e-10 | float | 1 | 1 | plain-utf8 | 5 | 5
provenance.cashflow_reconciliation.version | pc-cashflow-p50-reconciliation-v1 | str | 1 | 1 | plain-utf8 | 33 | 33
provenance.cashflow_table_statistic | p50_annual_bootstrap_draw_linear | str | 1 | 1 | plain-utf8 | 32 | 32
provenance.contract_settlement.algorithm_version |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.contract_settlement.basis |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.contract_settlement.representative_interpolation |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.contract_settlement.resolved_floor_by_project_year | [] | array | 1 | 1 | plain-utf8 | 2 | 2
provenance.project_case.asset_case.duration_hours | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.project_case.asset_case.fixed_om_eur_per_mw_yr | 0.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.project_case.asset_case.installed_capex_eur | 0.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.project_case.asset_case.power_mw | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.project_case.asset_case.round_trip_efficiency | 0.88 | float | 1 | 1 | plain-utf8 | 4 | 4
provenance.project_case.bootstrap_case.bootstrap_algorithm_version | pc-bootstrap-pcg64-choice365-linear-v1 | str | 1 | 1 | plain-utf8 | 38 | 38
provenance.project_case.bootstrap_case.n_simulations | 5000 | int | 1 | 1 | plain-utf8 | 4 | 4
provenance.project_case.bootstrap_case.seed | 0 | int | 1 | 1 | plain-utf8 | 1 | 1
provenance.project_case.contract_case |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.project_case.lifecycle_case.augmentation_events | [] | array | 1 | 1 | plain-utf8 | 2 | 2
provenance.project_case.lifecycle_case.capacity_maintenance_as_of |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.project_case.lifecycle_case.capacity_maintenance_basis | UNKNOWN | str | 1 | 1 | plain-utf8 | 7 | 7
provenance.project_case.lifecycle_case.capacity_maintenance_source |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.project_case.lifecycle_case.decommissioning_cost_eur | 0.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.project_case.lifecycle_case.eol_residual_value_eur | 0.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.project_case.lifecycle_case.project_life_years | 20 | int | 1 | 1 | plain-utf8 | 2 | 2
provenance.project_case.market_case.projection.annual_decay_rate |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.project_case.market_case.projection.as_of |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.project_case.market_case.projection.decay_floor_share |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.project_case.market_case.projection.multipliers |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.project_case.market_case.projection.projection_kind | FlatRealProjection | str | 1 | 1 | plain-utf8 | 18 | 18
provenance.project_case.market_case.projection.source |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.project_case.market_case.strategy_run_fingerprint | 623210f7a4e552e4eff29ae302cadcbf630e5e9393dc4d0804f31c9c222f0087 | str | 1 | 1 | plain-utf8 | 64 | 64
provenance.project_case.valuation_case.base_year | 2026 | int | 1 | 1 | plain-utf8 | 4 | 4
provenance.project_case.valuation_case.discount_rate | 0.08 | float | 1 | 1 | plain-utf8 | 4 | 4
provenance.project_case_input_fingerprint | 3830b2d25dc577e635fe02b10048bc317eb9e27041a2c8dc525a801fa415e74d | str | 1 | 1 | plain-utf8 | 64 | 64
provenance.projection.projection_kind | FlatRealProjection | str | 1 | 1 | plain-utf8 | 18 | 18
provenance.projection.resolved_annual_multipliers[0] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[1] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[2] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[3] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[4] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[5] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[6] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[7] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[8] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[9] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[10] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[11] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[12] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[13] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[14] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[15] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[16] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[17] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[18] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.projection.resolved_annual_multipliers[19] | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.red_line_assertions.cash_npv_includes_shadow_wear | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.red_line_assertions.contract_settlement_basis |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.red_line_assertions.contract_settlement_included | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.red_line_assertions.debt_included | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.red_line_assertions.financing_fees_included | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.red_line_assertions.mw_rescaled | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.red_line_assertions.pre_tax_unlevered | true | boolean | 1 | 1 | plain-utf8 | 4 | 4
provenance.red_line_assertions.tax_included | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.red_line_assertions.vom_rededucted | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.red_line_assertions.wear_net_floor_comparator_included | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.strategy_run_fingerprint | 623210f7a4e552e4eff29ae302cadcbf630e5e9393dc4d0804f31c9c222f0087 | str | 1 | 1 | plain-utf8 | 64 | 64
provenance.strategy_run_result.adapter_provenance.capture_rate |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.adapter_provenance.carry_soc | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.strategy_run_result.adapter_provenance.excluded_fields | [] | array | 1 | 1 | plain-utf8 | 2 | 2
provenance.strategy_run_result.adapter_provenance.expected_grid_profiles.da | pc-da-sdac-60to15-v1 | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.adapter_provenance.expected_grid_profiles.ida |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.adapter_provenance.expected_grid_profiles.reserve | pc-reserve-block-of-day-4h-v1 | str | 1 | 1 | plain-utf8 | 29 | 29
provenance.strategy_run_result.adapter_provenance.expected_grid_registry_version | pc-market-grid-v1 | str | 1 | 1 | plain-utf8 | 17 | 17
provenance.strategy_run_result.adapter_provenance.mode |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.adapter_provenance.per_day_cash_field | joint_total_revenue | str | 1 | 1 | plain-utf8 | 19 | 19
provenance.strategy_run_result.adapter_provenance.producer_adapter_id | PC_ADP_RESERVE_COOPT | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.adapter_provenance.reserve_price_aggregation | duration_weighted_mean_complete_blocks_v1 | str | 1 | 1 | plain-utf8 | 41 | 41
provenance.strategy_run_result.adapter_provenance.reserve_pricing_dates[0] | 2025-10-26 | str | 1 | 1 | plain-utf8 | 10 | 10
provenance.strategy_run_result.adapter_provenance.reserve_scalar_price_eur_mw_h | 20.0 | float | 1 | 1 | plain-utf8 | 4 | 4
provenance.strategy_run_result.adapter_provenance.soc_init_frac | 0.5 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.adapter_provenance.source_function | solve_joint_capacity_batch | str | 1 | 1 | plain-utf8 | 26 | 26
provenance.strategy_run_result.availability | 0.95 | float | 1 | 1 | plain-utf8 | 4 | 4
provenance.strategy_run_result.calculator_version | pc-a-v1 | str | 1 | 1 | plain-utf8 | 7 | 7
provenance.strategy_run_result.cash_basis.capture.applied | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.strategy_run_result.cash_basis.capture.rate | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.cash_basis.capture.source | not_applied | str | 1 | 1 | plain-utf8 | 11 | 11
provenance.strategy_run_result.cash_basis.liquidity.applied | false | boolean | 1 | 1 | plain-utf8 | 5 | 5
provenance.strategy_run_result.cash_basis.liquidity.assumption_fingerprint |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.cash_basis.post_vom | true | boolean | 1 | 1 | plain-utf8 | 4 | 4
provenance.strategy_run_result.coverage_audit.missing_dates | [] | array | 1 | 1 | plain-utf8 | 2 | 2
provenance.strategy_run_result.coverage_audit.observed_dates[0] | 2025-10-26 | str | 1 | 1 | plain-utf8 | 10 | 10
provenance.strategy_run_result.coverage_audit.solver_failed_dates | [] | array | 1 | 1 | plain-utf8 | 2 | 2
provenance.strategy_run_result.coverage_audit.solver_failure_details | [] | array | 1 | 1 | plain-utf8 | 2 | 2
provenance.strategy_run_result.coverage_audit.valid_dates[0] | 2025-10-26 | str | 1 | 1 | plain-utf8 | 10 | 10
provenance.strategy_run_result.currency_basis.deflator_factor |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.currency_basis.deflator_method |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.currency_basis.deflator_vintage |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.currency_basis.mode | SOURCE_EUR_TREATED_AS_BASE_YEAR_REAL | str | 1 | 1 | plain-utf8 | 36 | 36
provenance.strategy_run_result.currency_basis.target_base_year | 2026 | int | 1 | 1 | plain-utf8 | 4 | 4
provenance.strategy_run_result.daily_realised_cash_series[0][0] | 2025-10-26 | str | 1 | 1 | plain-utf8 | 10 | 10
provenance.strategy_run_result.daily_realised_cash_series[0][1] | 456.0 | float | 1 | 1 | plain-utf8 | 5 | 5
provenance.strategy_run_result.duration_hours | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.embedded_vom_cost_eur_mwh | 0.5 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.forecast_audits.da |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.forecast_audits.ida |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.forecast_audits.reserve |  | null | 1 | 1 | plain-utf8 | 0 | 0
provenance.strategy_run_result.power_mw | 1.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.reserve_coverage_audit[0].date | 2025-10-26 | str | 1 | 1 | plain-utf8 | 10 | 10
provenance.strategy_run_result.reserve_coverage_audit[0].missing_blocks | [] | array | 1 | 1 | plain-utf8 | 2 | 2
provenance.strategy_run_result.reserve_coverage_audit[0].present_blocks[0] | 2025-10-25T22:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].present_blocks[1] | 2025-10-26T03:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].present_blocks[2] | 2025-10-26T07:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].present_blocks[3] | 2025-10-26T11:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].present_blocks[4] | 2025-10-26T15:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].present_blocks[5] | 2025-10-26T19:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].required_blocks[0] | 2025-10-25T22:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].required_blocks[1] | 2025-10-26T03:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].required_blocks[2] | 2025-10-26T07:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].required_blocks[3] | 2025-10-26T11:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].required_blocks[4] | 2025-10-26T15:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].required_blocks[5] | 2025-10-26T19:00:00Z | str | 1 | 1 | plain-utf8 | 20 | 20
provenance.strategy_run_result.reserve_coverage_audit[0].settlement_duration_hours_by_block.2025-10-25T22:00:00Z | 4.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.reserve_coverage_audit[0].settlement_duration_hours_by_block.2025-10-26T03:00:00Z | 4.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.reserve_coverage_audit[0].settlement_duration_hours_by_block.2025-10-26T07:00:00Z | 4.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.reserve_coverage_audit[0].settlement_duration_hours_by_block.2025-10-26T11:00:00Z | 4.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.reserve_coverage_audit[0].settlement_duration_hours_by_block.2025-10-26T15:00:00Z | 4.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.reserve_coverage_audit[0].settlement_duration_hours_by_block.2025-10-26T19:00:00Z | 4.0 | float | 1 | 1 | plain-utf8 | 3 | 3
provenance.strategy_run_result.reserve_product | FCR [symmetric] | str | 1 | 1 | plain-utf8 | 15 | 15
provenance.strategy_run_result.reserve_source | Unified capacity cache / Manual CSV | str | 1 | 1 | plain-utf8 | 35 | 35
provenance.strategy_run_result.round_trip_efficiency | 0.88 | float | 1 | 1 | plain-utf8 | 4 | 4
provenance.strategy_run_result.sample_window.first_delivery_date | 2025-10-26 | str | 1 | 1 | plain-utf8 | 10 | 10
provenance.strategy_run_result.sample_window.last_delivery_date | 2025-10-26 | str | 1 | 1 | plain-utf8 | 10 | 10
provenance.strategy_run_result.sample_window.timezone | Europe/Berlin | str | 1 | 1 | plain-utf8 | 13 | 13
provenance.strategy_run_result.source_data_content_hash | 141a1c4fc9815ce70562a4c1db18b3f3ccea0ec929db2d149f29352c8a1b851b | str | 1 | 1 | plain-utf8 | 64 | 64
provenance.strategy_run_result.strategy_kind | DA_RESERVE_COOPT | str | 1 | 1 | plain-utf8 | 16 | 16
provenance.strategy_run_result.zone | DE_LU | str | 1 | 1 | plain-utf8 | 5 | 5
provenance.valuation.base_year | 2026 | int | 1 | 1 | plain-utf8 | 4 | 4
provenance.valuation.cash_timing | end_of_year | str | 1 | 1 | plain-utf8 | 11 | 11
provenance.valuation.currency_convention | real_base_year_eur | str | 1 | 1 | plain-utf8 | 18 | 18
provenance.valuation.discount_rate | 0.08 | float | 1 | 1 | plain-utf8 | 4 | 4
run_result.input_fingerprint | 3830b2d25dc577e635fe02b10048bc317eb9e27041a2c8dc525a801fa415e74d | str | 1 | 1 | plain-utf8 | 64 | 64
run_result.schema_version | project-case-v1.1 | str | 1 | 1 | plain-utf8 | 17 | 17